## Summary
Source wise Units & Power Interruptions
Date | Day | TNEB + WIND+TPP+IEX in kWh | SOLAR POWER (Inline) in kWh | SOLAR POWER (E&D) in kWh | SOLAR POWER (CRNHB) in kWh | SOLAR POWER (Rotary) in kWh | HFO | HSD | TOTAL | EB Power Cut Minutes | No. of power interruptions | Remarks | Solar Total |  | No.Of Power cuts
2025-04-01 | tue | 43821.181 | 266.94 | 240.75 | 1368 | 1178.75 | 0 | 0 | 46875.621 | 0 | 0 |  | 3054.44 | 3054.44 | 0 | 3054.44 | 43821.181
2025-04-02 | wed | 64029.286 | 259.52 | 239.06 | 1125.25 | 1131.75 | 0 | 0 | 66784.866 | 0 | 0 |  | 2755.58 | 2755.58 | 0 | 2755.58 | 64029.286
2025-04-03 | thu | 66512.2973 | 162.75 | 168.78 | 802.5 | 716.5 | 0 | 0 | 68362.8273 | 0 | 0 |  | 1850.53 | 1850.53 | 0 | 1850.53 | 66512.2973
2025-04-04 | fri | 67330.756 | 256.77 | 226.13 | 992 | 1085.5 | 0 | 0 | 69891.156 | 0 | 0 |  | 2560.4 | 2560.4 | 0 | 2560.4 | 67330.756
2025-04-05 | sat | 66795.8939 | 241.34 | 229.06 | 986.75 | 1099 | 0 | 0 | 69352.0439 | 0 | 0 |  | 2556.15 | 2556.15 | 0 | 2556.15 | 66795.8939
2025-04-06 | sun | 32427.7534 | 268.54 | 247.53 | 1099.25 | 1200.75 | 0 | 0 | 35243.8234 | 0 | 0 |  | 2816.07 | 2816.07 | 0 | 2816.07 | 32427.7534
2025-04-07 | mon | 66835.1075 | 299.01 | 261.34 | 1310 | 1340 | 0 | 0 | 70045.4575 | 0 | 0 |  | 3210.35 | 3210.35 | 0 | 3210.35 | 66835.1075
2025-04-08 | tue | 68431.0627 | 297.98 | 264.31 | 1508 | 1297.75 | 254 | 556 | 72609.1027 | 10 | 2 |  | 3368.04 |  | 1 | 4178.04 | 68431.0627
2025-04-09 | wed | 69257.7048 | 295.55 | 258.91 | 1493.75 | 1626.25 | 0 | 0 | 72932.1648 | 0 | 0 |  | 3674.46 | 3674.46 | 0 | 3674.46 | 69257.7048
2025-04-10 | thu | 71372.1803 | 299.33 | 253.31 | 1299.75 | 1611.25 | 110.75 | 93.44 | 75040.0103 | 10 | 2 |  | 3463.64 | 3463.64 | 1 | 3667.83 | 71372.1803
2025-04-11 | fri | 39987.0241 | 288.58 | 248.53 | 1445.75 | 1484.5 | 9766.75 | 18265.13 | 71486.2641 | 760 | 2 |  | 3467.36 | 3467.36 | 1 | 31499.24 | 39987.0241
2025-04-12 | sat | 50900.7529 | 293.89 | 246.97 | 1471.5 | 835.5 | 4515.25 | 10702.27 | 68966.1329 | 240 | 2 |  | 2847.86 |  | 1 | 18065.38 | 50900.7529
2025-04-13 | sun | 23202.8856 | 279.42 | 253.41 | 1451.25 | 1444.75 | 398 | 884.58 | 27914.2956 | 60 | 4 |  | 3428.83 |  | 2 | 4711.41 | 23202.8856
2025-04-14 | mon | 13728.7652 | 102.4 | 230.19 | 1034 | 1320 | 0 | 0 | 16415.3552 | 0 | 0 |  | 2686.59 |  | 0 | 2686.59 | 13728.7652
2025-04-15 | tue | 66634.1998 | 209.41 | 225.31 | 1210 | 1306.75 | 0 | 0 | 69585.6698 | 0 | 0 |  | 2951.47 |  | 0 | 2951.47 | 66634.1998 | 11.15am to 12.30pm, 5.28pm to 5.35pm, 1.50am to 2.05am, 2.35am to 7.15am(continue next day)
2025-04-16 | wed | 54393.2104 | 225.02 | 213.13 | 1139.75 | 1217.75 | 2903 | 8740.72 | 68832.5804 | 220 | 2 |  | 2795.65 |  | 1 | 14439.37 | 54393.2104 | 7.15am(continue from previous day) to 8.47am, 9.46am to 11.23am, 5.06 pm to 5.20 pm, 1.24am to 1.42am, 1.47am to 1.52am, 2.02am to 7.15am(continues to next day)
2025-04-17 | thu | 69428.6264 | 287.23 | 250.5 | 1428 | 1555.75 | 0 | 0 | 72950.1064 | 0 | 0 |  | 3521.48 |  | 0 | 3521.48 | 69428.6264 | 7.15am(continue from previous day) to 9.15am, 9.25am to 6.28pm
2025-04-18 | fri | 70483.476 | 255.81 | 232.97 | 1290.75 | 1375.75 | 0 | 0 | 73638.756 | 0 | 0 |  | 3155.28 |  | 0 | 3155.28 | 70483.476
2025-04-19 | sat | 69004.078 | 288 | 252.72 | 1442.75 | 1507.75 | 0 | 0 | 72495.298 | 0 | 0 |  | 3491.22 |  | 0 | 3491.22 | 69004.078
2025-04-20 | sun | 35875.3424 | 291.26 | 256.06 | 1483.75 | 1563.75 | 0 | 0 | 39470.1624 | 0 | 0 |  | 3594.82 |  | 0 | 3594.82 | 35875.3424
2025-04-21 | mon | 72261.3405 | 264.9 | 233.47 | 1345.25 | 1436.25 | 0 | 0 | 75541.2105 | 0 | 0 |  | 3279.87 |  | 0 | 3279.87 | 72261.3405
2025-04-22 | tue | 73931.7525 | 275.14 | 247.31 | 1403.75 | 1498.25 | 0 | 0 | 77356.2025 | 0 | 0 |  | 3424.45 |  | 0 | 3424.45 | 73931.7525
2025-04-23 | wed | 74138.4686 | 306.43 | 264 | 1563.25 | 1654.5 | 0 | 0 | 77926.6486 | 0 | 0 |  | 3788.18 |  | 0 | 3788.18 | 74138.4686
2025-04-24 | thu | 75844.4486 | 307.46 | 257.31 | 1557 | 1633 | 0 | 0 | 79599.2186 | 0 | 0 |  | 3754.77 |  | 0 | 3754.77 | 75844.4486
2025-04-25 | fri | 71528.0214 | 284.29 | 247.19 | 1433.25 | 1511.75 | 669 | 2317 | 77990.5014 | 35 | 2 |  | 3476.48 |  | 1 | 6462.48 | 71528.0214
2025-04-26 | sat | 69049.5198 | 289.15 | 237.22 | 1371.25 | 1493.25 | 0 | 1038.09 | 73478.4798 | 0 | 0 |  | 3390.87 |  | 0 | 4428.96 | 69049.5198 | 265
2025-04-27 | sun | 18311.6207 | 238.02 | 191.56 | 1199.75 | 1224.5 | 6504 | 4070.69 | 31740.1407 | 530 | 2 |  | 2853.83 |  | 1 | 13428.52 | 18311.6207
2025-04-28 | mon | 71441.7344 | 263.17 | 241.94 | 1373.5 | 1372.25 | 0 | 0 | 74692.5944 | 0 | 0 |  | 3250.86 |  | 0 | 3250.86 | 71441.7344
2025-04-29 | tue | 73596.7703 | 284.35 | 238.63 | 1474.25 | 1504 | 0 | 0 | 77098.0003 | 0 | 0 |  | 3501.23 |  | 0 | 3501.23 | 73596.7703
2025-04-30 | wed | 68689.3592 | 297.54 | 253.75 | 1502 | 1539.75 | 45 | 13 | 72340.3992 | 10 | 2 |  | 3593.04 | 3340.5 | 1 | 3651.04 | 68689.3592
|  | 0 | [6 empty] | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
Total |  | 1779244.6197 | 7979.2 | 7211.35 | 39606 | 40767.25 | 25165.75 | 46680.92 | 1946655.0897 | 1875 | 20 |  | 95563.8 | 32749.48 | 10
|  |  | Sunday |  |  |  |  | 71846.67 | 2683
7184.667
|  | 0.12451 | [6 empty] | 0.20237
0.20237

## units overall
Split up Units
Date | Day | Heat Trt | AC (Production) | MGC Cell AC units | AC (UPS room, PC server, Finance) | Canteen + HR + Mrktng + Security + STP | Nozzle soft (Heat trt area) | Main building Compressor | CAT Compressor | Main Building | Lighting | HFO Aux. | Other Areas | Rotary | E&D | CR NHB | Inline | HT insourcing for CRNHB+Air | CTA | Total (Rotary+E&D+ CR NHB) | Remarks
2025-04-01 | tue | 1465.1392 | 2796.4032 | 401.5 | 599.97 | 962.26 | 299.1 | 627.2928 | 818.9656 | 3262.19 | 747.75 | 223.1 | 1677.701 | 13881.3718 | 13788.28 | 16629.1298 | 546.6716 | 642.0192 | 1388.1486 | 46875.621 |  | 46875.621 | 0
2025-04-02 | wed | 3672.8832 | 4693.5552 | 677.38 | 689.89 | 897.75 | 569.68 | 1318.2624 | 1721.0648 | 7257.73 | 794.62 | 188.29 | 2158.296 | 24639.4016 | 14681.3 | 22549.9996 | 1154.5436 | 1581.1936 | 2178.4276 | 66784.866 |  | 66784.866 | 0
2025-04-03 | thu | 3475.7408 | 4549.2576 | 646.5 | 633.31 | 929.98 | 696.35 | 1440.414 | 1880.5405 | 8742.03 | 844.38 | 555.26 | 2482.9223 | 26876.6852 | 13920.79 | 22362.3106 | 1206.0229 | 1517.7572 | 2479.2614 | 68362.8273 |  | 68362.8273 | 0
2025-04-04 | fri | 3728.816 | 5121.1776 | 663 | 679.7 | 882.31 | 644.17 | 1522.8576 | 1988.1752 | 9788.27 | 849.37 | 467.97 | 2011.951 | 28347.7674 | 13508.12 | 22562.3554 | 1331.3007 | 1625.7752 | 2515.8374 | 69891.156 |  | 69891.156 | 0
2025-04-05 | sat | 3400.2272 | 4800.3168 | 612.87 | 686.62 | 910.98 | 658.68 | 1545.1956 | 2017.3387 | 9626.41 | 843 | 495.23 | 2284.1089 | 27880.9772 | 13564.3 | 22770.4294 | 1257.5277 | 1499.9021 | 2378.9074 | 69352.0439 |  | 69352.0439 | 0
2025-04-06 | sun | 1274.9952 | 511.3824 | 98.13 | 579.2 | 729.57 | 16.59 | 273.3336 | 356.8522 | 2421.45 | 346.25 | 467.2 | 2329.5834 | 9404.5368 | 7289 | 17455.3 | 336.5004 | 528.4154 | 230.0708 | 35243.8234 |  | 35243.8234 | 0
2025-04-07 | mon | 2277.3056 | 5116.8192 | 598.12 | 707.45 | 978.84 | 682.58 | 1549.3284 | 2022.7343 | 10113.35 | 917 | 493.44 | 2649.6875 | 28106.655 | 13881.44 | 23109.18 | 1123.3572 | 1061.7201 | 2763.1052 | 70045.4575 |  | 70045.4575 | 0
2025-04-08 | tue | 3877.9584 | 5347.536 | 617.63 | 699.58 | 910.13 | 663.38 | 1493.8956 | 1950.3637 | 9708.71 | 897.38 | 456.06 | 2278.1927 | 28900.8164 | 15002.3 | 23022.231 | 1395.9436 | 1680.8159 | 2606.9958 | 72609.1027 |  | 72609.1027 | 0
2025-04-09 | wed | 3934.6048 | 5315.7696 | 616.75 | 714.5 | 922.56 | 653.42 | 1551.1896 | 2025.1642 | 10062.97 | 868 | 489.47 | 2292.5248 | 29446.923 | 15043.17 | 22847.9334 | 1422.0236 | 1709.3094 | 2462.8054 | 72932.1648 |  | 72932.1648 | 0
2025-04-10 | thu | 3565.0496 | 5295.8784 | 631.75 | 725.07 | 978.43 | 722.13 | 1596.9888 | 2084.9576 | 10263.47 | 884.37 | 506.88 | 2616.5403 | 29871.5147 | 15950.02 | 23516.3541 | 1375.2185 | 1570.0407 | 2756.8623 | 75040.0103 |  | 75040.0103 | 0
2025-04-11 | fri | 3543.4048 | 5442.7104 | 571.87 | 742.8 | 929.48 | 680.21 | 1610.9028 | 2103.1231 | 10024.1 | 872.63 | 587.01 | 2331.5341 | 29439.7752 | 13905.69 | 22499.047 | 1354.8188 | 1563.1317 | 2723.8014 | 71486.2641 |  | 71486.2641 | 0
2025-04-12 | sat | 3680.6592 | 4938.576 | 572.25 | 619.54 | 888.3 | 626.85 | 1353.42 | 1766.965 | 8808.28 | 858.87 | 467.58 | 2391.8529 | 26973.1431 | 13968.71 | 22560.8573 | 1283.6323 | 1588.1375 | 2591.6527 | 68966.1329 |  | 68966.1329 | 0
2025-04-13 | sun | 2748.3168 | 303.8016 | 82.25 | 548.54 | 664.36 | 50.43 | 241.6824 | 315.5298 | 1759.84 | 348.25 | 239.23 | 1841.0106 | 9143.2412 | 6278.08 | 10621.01 | 549.7023 | 1100.4149 | 221.8472 | 27914.2956 |  | 27914.2956 | 0
2025-04-14 | mon | 991.2704 | 332.6496 | 67.63 | 542.34 | 620.87 | 39.61 | 77.9184 | 101.7268 | 865.31 | 245 | 170.37 | 1628.7452 | 5683.4404 | 7334.5 | 2764 | 197.967 | 395.8726 | 39.5752 | 16415.3552 |  | 16415.3552 | 0
2025-04-15 | tue | 2724.5248 | 5624.7648 | 565.5 | 699.01 | 947.5 | 818.19 | 1502.568 | 1961.686 | 9311.04 | 895.75 | 495.87 | 2748.7998 | 28295.2034 | 13563.82 | 22353.1038 | 1221.4129 | 1231.2195 | 2920.9102 | 69585.6698 |  | 69585.6698 | 0
2025-04-16 | wed | 3476.3264 | 5155.5744 | 641.87 | 664.65 | 980.53 | 694.34 | 1394.4168 | 1820.4886 | 9512.43 | 898.63 | 385.79 | 2907.8804 | 28532.9266 | 12276.36 | 22535.6258 | 1333.4782 | 1512.8752 | 2641.3146 | 68832.5804 |  | 68832.5804 | 0
2025-04-17 | thu | 3861.1296 | 5115.2256 | 626.38 | 709.63 | 995.91 | 700.92 | 1540.6272 | 2011.3744 | 10151.09 | 904.5 | 232.96 | 2874.0914 | 29723.8382 | 14135.24 | 23173.4354 | 1414.6721 | 1679.4346 | 2823.4862 | 72950.1064 |  | 72950.1064 | 0
2025-04-18 | fri | 3424.5216 | 5593.6704 | 648.75 | 732.24 | 1069.63 | 901.19 | 1501.3728 | 1960.1256 | 10155.24 | 887.12 | 200.7 | 2917.351 | 29991.9114 | 14605.9 | 23404.9894 | 1349.7732 | 1504.5229 | 2781.659 | 73638.756 |  | 73638.756 | 0
2025-04-19 | sat | 2793.4176 | 5278.896 | 558.37 | 756.78 | 919.48 | 666.47 | 1459.944 | 1906.038 | 9709.34 | 889 | 241.79 | 2512.593 | 27692.1186 | 16396.09 | 23219.3926 | 1253.5726 | 1253.3947 | 2680.7294 | 72495.298 |  | 72495.298 | 0
2025-04-20 | sun | 1197.8944 | 634.5024 | 153.13 | 653.61 | 803.74 | 17.05 | 314.3952 | 410.4604 | 2252.33 | 431.38 | 230.53 | 2212.3524 | 9311.3748 | 9748.47 | 19286.71 | 351.5617 | 502.8603 | 269.1856 | 39470.1624 |  | 39470.1624 | 0
2025-04-21 | mon | 2706.2112 | 5780.1504 | 619.87 | 789.16 | 939.2 | 683.47 | 1977.6024 | 2581.8698 | 10231.4 | 919.87 | 291.46 | 2634.8755 | 30155.1393 | 16552.46 | 23402.5483 | 1303.1467 | 1276.8473 | 2851.0689 | 75541.2105 |  | 75541.2105 | 0
2025-04-22 | tue | 4071.2672 | 5662.2912 | 595.88 | 779.16 | 982.33 | 794.57 | 1569.6756 | 2049.2987 | 10370.45 | 890.25 | 481.02 | 2663.9275 | 30910.1202 | 16816.85 | 23617.3052 | 1462.6184 | 1764.7472 | 2784.5616 | 77356.2025 |  | 77356.2025 | 0
2025-04-23 | wed | 3903.1968 | 5956.9632 | 620 | 799.53 | 1040.82 | 820.48 | 1621.494 | 2116.9505 | 10280.98 | 896.25 | 493.82 | 2489.3036 | 31039.7881 | 17015.37 | 23829.7609 | 1396.4862 | 1704.8522 | 2940.3911 | 77926.6486 |  | 77926.6486 | 0
2025-04-24 | thu | 3624.1824 | 6232.4064 | 576.25 | 825.39 | 1053.04 | 898.3 | 1644.0768 | 2146.4336 | 10664.15 | 935.13 | 457.34 | 3042.4036 | 32099.1028 | 17386.98 | 24054.8856 | 1398.404 | 1598.3714 | 3061.4748 | 79599.2186 |  | 79599.2186 | 0
2025-04-25 | fri | 4033.0432 | 6044.8992 | 596.37 | 803.62 | 1049.78 | 919.07 | 1624.5108 | 2120.8891 | 10130.4 | 953.62 | 350.34 | 2829.3814 | 31455.9237 | 15953.66 | 24268.6509 | 1486.7566 | 1755.9087 | 3069.6015 | 77990.5014 |  | 77990.5014 | 0
2025-04-26 | sat | 2713.9776 | 5567.856 | 518.5 | 776.36 | 1044.59 | 752.51 | 1651.3668 | 2155.9511 | 9867.87 | 906.38 | 187.39 | 3148.9398 | 29291.6913 | 14875.58 | 23933.2017 | 1265.1554 | 1243.6327 | 2869.2187 | 73478.4798 |  | 73478.4798 | 0
2025-04-27 | sun | 1067.392 | 519.4848 | 142.38 | 628.37 | 835.12 | 16.96 | 261.1188 | 340.9051 | 2049.67 | 447.25 | 459.39 | 1852.6107 | 8620.6514 | 7102.72 | 14970.97 | 313.1197 | 445.9632 | 286.7164 | 31740.1407 |  | 31740.1407 | 0
2025-04-28 | mon | 2400.3264 | 5970.8064 | 606.5 | 758.4 | 1011.02 | 774.53 | 1518.4656 | 1982.4412 | 9417.27 | 893.87 | 228.99 | 2989.4044 | 28552.024 | 17213.85 | 23714.3352 | 1178.7177 | 1106.3459 | 2927.3216 | 74692.5944 |  | 74692.5944 | 0
2025-04-29 | tue | 3761.6736 | 6299.0496 | 618.75 | 766.48 | 1030.99 | 614.5 | 1584.9792 | 2069.2784 | 9555.45 | 908.63 | 429.44 | 2665.9453 | 30305.1661 | 16724.98 | 24023.4855 | 1463.1641 | 1645.5126 | 2935.6921 | 77098.0003 |  | 77098.0003 | 0
2025-04-30 | wed | 2677.1552 | 5949.7824 | 193.12 | 751.61 | 904.65 | 731.98 | 1509.8976 | 1971.2552 | 8916.68 | 903.12 | 193.54 | 2810.4842 | 27513.2746 | 15499.2 | 23831.5262 | 1175.9317 | 1213.5301 | 3106.9366 | 72340.3992 |  | 72340.3992 | 0
[14 empty] | 0 | [5 empty] | 0 |  | 0 | 0
Total |  | 90072.6112 | 135952.1568 | 15139.25 | 21062.51 | 27814.15 | 17807.71 | 38879.1936 | 50758.9472 | 245279.9 | 23877.62 | 11167.46 | 74274.9947 | 752086.5035 | 413983.23 | 638890.0641 | 33903.2013 | 39504.5241 | 68287.5667 | 1946655.0897 |  | -1184285.0897
|  |  | 172153.9168 |  |  |  |  | 89638.1408 | 5720
[7 empty] | 0 |  |  |  |  | 0 | [7 empty] | 19.4666
|  | 11.3515 | 17.1336 | 1.9079 | 2.6544 | 3.5053 |  | 4.8998 | 6.397 | 30.9117 | 3.0092 |  | 9.3606 | 94.7827 | 5.2173 | [6 empty] | -268757.0897
[14 empty] | 239729 | 20801.26
[14 empty] | 425147 | 1185.23
[14 empty] | 793484.8265 | [5 empty] | -939433.0897
|  | 11.3515 | 19.0415 |  |  | 3.5053 |  | 11.2968 |  | 30.9117 | 3.0092 |  | 17.2323 | 96.3484
546
[15 empty] | 758296.2519 | 1.793 | 0.33903
[11 empty] | Units in Lacs Jan-24 upto 18th |  |  |  | 7.583
[11 empty] | Total | 18.7837
[11 empty] | MFI | 7.583
[11 empty] | CRNHB | 6.3889
[11 empty] | E&D | 4.0777
[11 empty] | Inline | 0.33903
[11 empty] | HT insource for CRNHB | 0.39505

## HT Split up
HT insourcing for CRNHB
|  |  | SQF-3 Preheating |  |  | VHF-I & II (Heater& Quench Motor, SPM cell workshop) | VHF-1,2,3(convection pump,vacuum pump, water pump & Control supply)+, SQF 2 control supply | SQF-2, Descaling Furnace, GNF-1 and Preheating (SQF-1&2),SQF-1&2 PDB (SQF1&2 Hot to cold Sump motor's.) | SPM Cell(Assembly section), TEM Washing – I, Tempering Furnace, | Low Tempering, HTC LAB, Cooling Tower, Post Wash,Water cooling pump, Coolant Treatment Plant | Near FBF PDB (GNF crane,) GNF - 2,Tempost wash - 2, ENDO staircase Near PDB (Parco oven,20bar washing, Gala - 02nos , HTC cell Roof Fans)
Meter name |  | STP | SQF cell | SQF-3 Furnace | N2 Plant | VHF- II | VHF-II control supply (550kVA UPS supply) | HT-1 | HT-2 | HT-3 | HT-4 | SQF-3 Post Wash | GNF-3 | GNF-4 | GNF-5 | GNF-6 | GNF-7 | Parco | Endo-2 | Elva (550kVA UPS supply) | TEM POST | Endo-3 | Endo-1 | Insight washing | High Tempering furnace | VHF III | Motor Load | SQF-1
Loads Connected | Day | Surface Treatment Plant (STP) | SQF-3 Preheating, New Sub zero, Atlas Compressor * (stand by), Multi stage Evaporator,Summit Air Drier(stand by) | SQF-3 Furnace | Nitrogen plant | VHF-I & II (Heater& Quench Motor, SPM cell workshop) | VHF-1,2,3(convection pump,vacuum pump, water pump & Control supply)+, SQF control supply | SQF-2, Descaling Furnace, GNF-1 and Preheating (SQF-1&2) | FBF-1, SPM Cell(Assembly section), TEM Washing – I, Tempering Furnace,PDB | Low Tempering, ETP, Sub Zero(old), LAB, Cooling Tower, Post Wash, Coolant Treatment Plant | FBF-2,3, Gala PDB, GNF-2 VCO Tempering, ENDO Gas PDB, Pre-washing, 7 UVD machine | SQF-3 Post Wash | GNF-3 | GNF-4 | GNF-5 | GNF-6 | GNF-7(Activation Furnace) | Parco | Endo-2 | Elva Induction hardening | TEM POST WASH | Endo-3 | Endo-1 | Insight washing | High Tempering furnace | VHF III (Heater & Quench Motor) | Motor Load (TEM-1 & SQF-1,2 Alternate supply) | SQF-1 | Total Heat Treatment |  | Date | Day | Total |  | HT insourcing for CRNHB & inline
2025-04-01 | tue | 0 | 141.89 | 263.17 | 544.34 | 34.34 | 68.48 | 0 | 124.44 | 362.79 | 450.35 | 0.83 | 0 | 0 | 2.31 | 2.68 | 0 | 0 | 151.92 | 0 | 12.3 | 129.44 | 0 | 0 | 0 | 0 | 0 | 0 | 2289.28 |  | 2025-04-01 | tue | 1465.1392 |  | 824.1408
2025-04-02 | wed | 138.54 | 608.64 | 1278.97 | 632.86 | 32.01 | 255.04 | 0 | 237.21 | 359.62 | 407.94 | 889.09 | 0 | 0 | 2.3 | 2.57 | 0 | 0 | 365.52 | 0 | 50.5 | 128.57 | 0 | 0 | 0 | 349.5 | 0 | 0 | 5738.88 |  | 2025-04-02 | wed | 3672.8832 |  | 2065.9968
2025-04-03 | thu | 513.37 | 748.1 | 850.95 | 422.7 | 34.34 | 282.3 | 0 | 202 | 346.41 | 457.9 | 822.4 | 0 | 0 | 203.46 | 2.56 | 0 | 6.3 | 350.115 | 0 | 42.96 | 128.7 | 0 | 0 | 0 | 16.28 | 0 | 0 | 5430.845 |  | 2025-04-03 | thu | 3475.7408 |  | 1955.1042
2025-04-04 | fri | 158.59 | 697.84 | 1167.87 | 529.59 | 18.35 | 244.93 | 0 | 221.15 | 280.82 | 443.28 | 970.18 | 0 | 0 | 263.34 | 196.41 | 0 | 105.94 | 351.645 | 0 | 47.92 | 128.42 | 0 | 0 | 0 | 0 | 0 | 0 | 5826.275 |  | 2025-04-04 | fri | 3728.816 |  | 2097.459
2025-04-05 | sat | 494.4 | 668.21 | 784.9 | 488.64 | 33 | 277.89 | 0 | 177.04 | 385.11 | 396.16 | 828.48 | 0 | 0 | 67.7 | 239.92 | 0 | 7.93 | 303.885 | 0 | 31.23 | 128.36 | 0 | 0 | 0 | 0 | 0 | 0 | 5312.855 |  | 2025-04-05 | sat | 3400.2272 |  | 1912.6278
2025-04-06 | sun | 0.93 | 63 | 192 | 391.38 | 26.36 | 242.37 | 0 | 60.31 | 259.02 | 272.27 | 67.77 | 0 | 0 | 8.09 | 56.82 | 0 | 0 | 208.71 | 0 | 14.58 | 128.57 | 0 | 0 | 0 | 0 | 0 | 0 | 1992.18 |  | 2025-04-06 | sun | 1274.9952 |  | 717.1848
2025-04-07 | mon | 16.63 | 213.92 | 465.92 | 453.05 | 13.11 | 266.17 | 0 | 210.84 | 260.33 | 249.62 | 242.5 | 0 | 0 | 176.08 | 208.02 | 0 | 0 | 217.2 | 0 | 42.48 | 128.17 | 0 | 0 | 0 | 394.25 | 0 | 0 | 3558.29 |  | 2025-04-07 | mon | 2277.3056 |  | 1280.9844
2025-04-08 | tue | 154.27 | 794.63 | 1148.16 | 333.82 | 32.09 | 327.94 | 0 | 247.64 | 324.63 | 331.64 | 987.26 | 0 | 0 | 264.74 | 252.43 | 0 | 84.16 | 346.8 | 4 | 54.72 | 130.18 | 0 | 0 | 0 | 240.2 | 0 | 0 | 6059.31 |  | 2025-04-08 | tue | 3877.9584 |  | 2181.3516
2025-04-09 | wed | 481.24 | 855.41 | 1078.52 | 398.5 | 32.36 | 330.43 | 0 | 229.04 | 366.49 | 454.84 | 949.06 | 0 | 0 | 96.7 | 55.77 | 0 | 5.76 | 356.49 | 8 | 39.63 | 130.12 | 0 | 0 | 0 | 279.46 | 0 | 0 | 6147.82 |  | 2025-04-09 | wed | 3934.6048 |  | 2213.2152
2025-04-10 | thu | 129.66 | 701.53 | 968.96 | 490.54 | 31.64 | 292.16 | 0 | 242.97 | 350.04 | 292.64 | 922.88 | 0 | 0 | 6.25 | 2.5 | 133.31 | 63.04 | 355.26 | 0 | 49.63 | 129.78 | 0 | 0 | 0 | 407.6 | 0 | 0 | 5570.39 |  | 2025-04-10 | thu | 3565.0496 |  | 2005.3404
2025-04-11 | fri | 515.89 | 637.9 | 929.54 | 396 | 24.84 | 207.75 | 0 | 231.04 | 341.05 | 274.46 | 779.9 | 0 | 0 | 170.17 | 253.6 | 0.32 | 3.96 | 351.69 | 0 | 48.04 | 129.34 | 0 | 0 | 0 | 241.08 | 0 | 0 | 5536.57 |  | 2025-04-11 | fri | 3543.4048 |  | 1993.1652
2025-04-12 | sat | 427.11 | 666.09 | 1033.73 | 401.93 | 27.9 | 117.5 | 0 | 182.02 | 313.47 | 601.18 | 970.05 | 0 | 0 | 263.88 | 226.07 | 0 | 4.86 | 351.84 | 0 | 33.76 | 129.64 | 0 | 0 | 0 | 0 | 0 | 0 | 5751.03 |  | 2025-04-12 | sat | 3680.6592 |  | 2070.3708
2025-04-13 | sun | 0 | 419.37 | 1039.1 | 491.28 | 13.69 | 94.4 | 0 | 32.14 | 406.43 | 391.39 | 833.47 | 0 | 0 | 85.46 | 4.11 | 0 | 1.62 | 352.035 | 0 | 0.03 | 129.72 | 0 | 0 | 0 | 0 | 0 | 0 | 4294.245 |  | 2025-04-13 | sun | 2748.3168 |  | 1545.9282
2025-04-14 | mon | 148.34 | 115.83 | 133.12 | 75.27 | 5.08 | 96.19 | 0 | 74.65 | 307.4 | 11.48 | 181.63 | 0 | 0 | 2.4 | 2.59 | 0 | 18.91 | 205.05 | 0 | 13.74 | 126.63 | 0 | 0 | 0 | 0 | 30.55 | 0 | 1548.86 |  | 2025-04-14 | mon | 991.2704 |  | 557.5896
2025-04-15 | tue | 338.93 | 483.5 | 472.58 | 615.78 | 31.07 | 320.13 | 0 | 225.67 | 292.78 | 208.51 | 137.54 | 0 | 0 | 177.42 | 2.59 | 0 | 87.13 | 223.44 | 0 | 46.4 | 129.53 | 0 | 0 | 0 | 464.07 | 0 | 0 | 4257.07 |  | 2025-04-15 | tue | 2724.5248 |  | 1532.5452
2025-04-16 | wed | 132.8 | 728.38 | 1105.15 | 433.87 | 6.59 | 289.6 | 0 | 216.18 | 277.14 | 190.31 | 952.19 | 0 | 0 | 272.65 | 171.86 | 0 | 0 | 356.07 | 0 | 48.03 | 129.42 | 0 | 0 | 0 | 121.52 | 0 | 0 | 5431.76 |  | 2025-04-16 | wed | 3476.3264 |  | 1955.4336
2025-04-17 | thu | 481.05 | 792.93 | 1060.61 | 467.04 | 26.19 | 157.25 | 0 | 242.33 | 462.3 | 367.31 | 948.74 | 0 | 0 | 222.49 | 265.36 | 0 | 5 | 357.975 | 0 | 48.56 | 127.88 | 0 | 0 | 0 | 0 | 0 | 0 | 6033.015 |  | 2025-04-17 | thu | 3861.1296 |  | 2171.8854
2025-04-18 | fri | 296.77 | 752.49 | 1042.69 | 393.6 | 26.62 | 117.63 | 0 | 229.44 | 430.38 | 184.57 | 792.64 | 0 | 0 | 265.57 | 233.9 | 0 | 49.68 | 354.105 | 0 | 46.79 | 133.94 | 0 | 0 | 0 | 0 | 0 | 0 | 5350.815 |  | 2025-04-18 | fri | 3424.5216 |  | 1926.2934
2025-04-19 | sat | 190.26 | 533.37 | 844.28 | 361.69 | 30.16 | 93.5 | 0 | 206.92 | 385.97 | 152.06 | 628.09 | 0 | 0 | 253.54 | 230.28 | 0 | 4.56 | 214.605 | 0 | 36.16 | 199.27 | 0 | 0 | 0 | 0 | 0 | 0 | 4364.715 |  | 2025-04-19 | sat | 2793.4176 |  | 1571.2974
2025-04-20 | sun | 0 | 59.4 | 235.01 | 333.95 | 33.59 | 53.25 | 0 | 41.02 | 339.87 | 41.52 | 10.12 | 0 | 0 | 263.11 | 75.65 | 0 | 30.11 | 208.71 | 0 | 11.8 | 134.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1871.71 |  | 2025-04-20 | sun | 1197.8944 |  | 673.8156
2025-04-21 | mon | 128.87 | 392.72 | 781.57 | 479.85 | 29.65 | 142.4 | 0 | 259.95 | 344.97 | 585.5 | 225.15 | 0 | 0 | 73.76 | 215.92 | 0 | 91.47 | 280.695 | 16 | 51.87 | 128.11 | 0 | 0 | 0 | 0 | 0 | 0 | 4228.455 |  | 2025-04-21 | mon | 2706.2112 |  | 1522.2438
2025-04-22 | tue | 372.51 | 815.21 | 1113.6 | 431.58 | 30.15 | 106.31 | 0 | 266.19 | 451.31 | 658.1 | 1032.38 | 0 | 0 | 283.26 | 237.41 | 0 | 5.81 | 353.145 | 20 | 55.89 | 128.5 | 0 | 0 | 0 | 0 | 0 | 0 | 6361.355 |  | 2025-04-22 | tue | 4071.2672 |  | 2290.0878
2025-04-23 | wed | 223.85 | 722.22 | 1036.03 | 556.75 | 31.74 | 111.42 | 0 | 266.98 | 464.78 | 591.21 | 994.82 | 0 | 0 | 266.73 | 231.37 | 0.07 | 66.86 | 352.125 | 0 | 53.52 | 128.27 | 0 | 0 | 0 | 0 | 0 | 0 | 6098.745 |  | 2025-04-23 | wed | 3903.1968 |  | 2195.5482
2025-04-24 | thu | 129.57 | 611.05 | 846.59 | 583.16 | 28.87 | 145.34 | 0 | 228.07 | 442.66 | 850.08 | 871.1 | 0 | 0 | 130.94 | 240.54 | 0 | 0 | 355.005 | 32 | 39.39 | 128.42 | 0 | 0 | 0 | 0 | 0 | 0 | 5662.785 |  | 2025-04-24 | thu | 3624.1824 |  | 2038.6026
2025-04-25 | fri | 464.1 | 712.06 | 1144.58 | 613.51 | 13.44 | 130.63 | 0 | 246.3 | 422.43 | 406.64 | 1025.6 | 0 | 0 | 264 | 180.51 | 0 | 103.38 | 357.21 | 38 | 51.03 | 128.21 | 0 | 0 | 0 | 0 | 0 | 0 | 6301.63 |  | 2025-04-25 | fri | 4033.0432 |  | 2268.5868
2025-04-26 | sat | 282.75 | 377.12 | 496.13 | 446.42 | 28.2 | 65.53 | 0 | 179.73 | 391.66 | 510.33 | 528.45 | 0 | 0 | 252.22 | 250.74 | 0 | 2.91 | 257.52 | 13 | 29.44 | 128.44 | 0 | 0 | 0 | 0 | 0 | 0 | 4240.59 |  | 2025-04-26 | sat | 2713.9776 |  | 1526.6124
2025-04-27 | sun | 0 | 43.77 | 243.71 | 272.13 | 0 | 49.09 | 0 | 41.87 | 315.53 | 247.75 | 0.51 | 0 | 0 | 6.37 | 96.03 | 0 | 0 | 209.1 | 0 | 13.31 | 128.63 | 0 | 0 | 0 | 0 | 0 | 0 | 1667.8 |  | 2025-04-27 | sun | 1067.392 |  | 600.408
2025-04-28 | mon | 132.43 | 544.88 | 1037.57 | 276.04 | 0 | 59.27 | 0 | 274.94 | 346.26 | 216.6 | 315.14 | 0 | 0 | 5.15 | 24.93 | 0 | 0 | 320.97 | 10 | 58.02 | 128.31 | 0 | 0 | 0 | 0 | 0 | 0 | 3750.51 |  | 2025-04-28 | mon | 2400.3264 |  | 1350.1836
2025-04-29 | tue | 476.81 | 989.14 | 1004.03 | 412.38 | 0.55 | 78.01 | 0 | 231.25 | 507.49 | 181.49 | 1025.73 | 0 | 0 | 2.12 | 359.04 | 0 | 73.44 | 359.085 | 0 | 48.79 | 128.26 | 0 | 0 | 0 | 0 | 0 | 0 | 5877.615 |  | 2025-04-29 | tue | 3761.6736 |  | 2115.9414
2025-04-30 | wed | 2.24 | 583.75 | 793.86 | 379.66 | 24.2 | 96.58 | 0 | 202.01 | 453.17 | 106.09 | 786.3 | 0 | 0 | 190.2 | 140.71 | 0 | 3.68 | 299.235 | 2 | 37.91 | 81.46 | 0 | 0 | 0 | 0 | 0 | 0 | 4183.055 |  | 2025-04-30 | wed | 2677.1552 |  | 1505.8998
[29 empty] | 0 |  |  |  | 0
Total |  | 6831.91 | 16474.35 | 24592.9 | 13107.31 | 700.13 | 5119.49 | 0 | 5831.34 | 10992.31 | 10533.22 | 19720 | 0 | 0 | 4542.41 | 4462.89 | 133.7 | 826.51 | 9127.155 | 143 | 1158.43 | 3896.89 | 0 | 0 | 0 | 2513.96 | 30.55 | 0 | 140738.455 | 0 |  | 0 | 90072.6112 | 0 | 50665.8438
-61314.6112

## Machines Pump & inj
0.0001064
Main Building Split up
Date |  | Pump Stream | [13 empty] | Injector Stream
| Day | Pump Assembly | Barrel Hard Stage | Barrel Soft Sage | Small Parts (Phase-3) | Sub assembly | Aluminium Cell | CAM Ring Cell | Filter cell, ID Stores, AM Ware House | Barrel Soft Washing Machine | CAM Roller Shoe | Phase-4 | 6th BAY | Rotor cell | Total | BDN Nozzle Hard | Injector assembly | VCO | NHB Hard Line | Nozzle soft (Heat trt area) | Total | Total | Main building only
2025-04-01 | tue | 232.45 | 222.58 | 209.5 | 144.58 | 86.3 | 251.05 | 44.06 | 58.38 | 239.93 | 89.6 | 143.38 | 9.86 | 0 | 1731.67 | 156.17 | 233.51 | 603.65 | 537.19 | 299.1 | 1829.62 | 3561.29 | 3262.19
2025-04-02 | wed | 407.49 | 634.12 | 459.36 | 283.89 | 140.08 | 486.84 | 99.54 | 59.93 | 569.09 | 309.89 | 374.18 | 316.67 | 0 | 4141.08 | 389.98 | 362.58 | 1260.29 | 1103.8 | 569.68 | 3686.33 | 7827.41 | 7257.73
2025-04-03 | thu | 495.17 | 582.79 | 599.11 | 449.72 | 129.17 | 493.69 | 487.81 | 73.13 | 643.49 | 368.38 | 596.01 | 333.5 | 0 | 5251.97 | 379.1 | 336.04 | 1365.75 | 1409.17 | 696.35 | 4186.41 | 9438.38 | 8742.03
2025-04-04 | fri | 441.92 | 621.07 | 621.06 | 565.68 | 152.35 | 475.03 | 894.67 | 132.78 | 583.94 | 489.22 | 615.04 | 314.63 | 0 | 5907.39 | 394.15 | 365.51 | 1551.78 | 1569.44 | 644.17 | 4525.05 | 10432.44 | 9788.27
2025-04-05 | sat | 500.67 | 306.39 | 604.67 | 717.65 | 139.41 | 500.87 | 890.14 | 129.38 | 560 | 434.68 | 674.73 | 277.56 | 0 | 5736.15 | 388.22 | 383.74 | 1505.24 | 1613.06 | 658.68 | 4548.94 | 10285.09 | 9626.41
2025-04-06 | sun | 226.56 | 461.69 | 116.38 | 115.4 | 26.53 | 189.75 | 18.01 | 35.46 | 339.07 | 212.48 | 192.23 | 227.52 | 0 | 2161.08 | 5.93 | 84.39 | 90.97 | 79.08 | 16.59 | 276.96 | 2438.04 | 2421.45
2025-04-07 | mon | 522.94 | 804.2 | 694.56 | 757.7 | 123.73 | 499.94 | 504.28 | 119.75 | 606.4 | 423.04 | 861.3 | 291.14 | 0 | 6208.98 | 314.31 | 402.49 | 1579.63 | 1607.94 | 682.58 | 4586.95 | 10795.93 | 10113.35
2025-04-08 | tue | 483.97 | 718.98 | 715.2 | 707.55 | 129.12 | 411.09 | 371.42 | 142.1 | 642.44 | 408.07 | 676.88 | 349.76 | 0 | 5756.58 | 409.47 | 399.35 | 1510.93 | 1632.38 | 663.38 | 4615.51 | 10372.09 | 9708.71
2025-04-09 | wed | 548.8 | 732.84 | 611.17 | 731.14 | 117.94 | 464.98 | 587.09 | 144.06 | 620.92 | 473.21 | 588.82 | 356.35 | 0 | 5977.32 | 400.46 | 419.2 | 1580.81 | 1685.18 | 653.42 | 4739.07 | 10716.39 | 10062.97
2025-04-10 | thu | 502.72 | 725.95 | 654.75 | 712.15 | 122.03 | 525.04 | 485.84 | 137.16 | 621.96 | 494.85 | 780.01 | 349.76 | 0 | 6112.22 | 396.26 | 385.62 | 1637.2 | 1732.17 | 722.13 | 4873.38 | 10985.6 | 10263.47
2025-04-11 | fri | 421.76 | 723.2 | 742.25 | 747.4 | 119.33 | 475.53 | 543.4 | 83.37 | 609.69 | 428.8 | 798.35 | 339.71 | 0 | 6032.79 | 394.81 | 329.38 | 1618.79 | 1648.33 | 680.21 | 4671.52 | 10704.31 | 10024.1
2025-04-12 | sat | 457.47 | 388.67 | 681.63 | 675.04 | 107.06 | 371.9 | 580.42 | 135.78 | 468.8 | 388.87 | 734.92 | 209.67 | 0 | 5200.23 | 210.53 | 396.99 | 1558.2 | 1442.33 | 626.85 | 4234.9 | 9435.13 | 8808.28
2025-04-13 | sun | 139.52 | 269.26 | 43.46 | 101.24 | 19.64 | 197.6 | 6.48 | 83.63 | 251.9 | 17.79 | 212 | 123.45 | 0 | 1465.97 | 1.91 | 67.41 | 137.73 | 86.82 | 50.43 | 344.3 | 1810.27 | 1759.84
2025-04-14 | mon | 60.23 | 289 | 10.35 | 14.91 | 0.29 | 110.49 | 4.73 | 108.56 | 8.48 | 3.84 | 28.14 | 2.31 | 0 | 641.33 | 2.32 | 59.13 | 91.14 | 71.39 | 39.61 | 263.59 | 904.92 | 865.31
2025-04-15 | tue | 535.42 | 657.03 | 638.66 | 556.62 | 110.6 | 439.2 | 706.01 | 192.44 | 497.06 | 349.82 | 692.48 | 223.93 | 0 | 5599.27 | 496.7 | 281.37 | 1534.25 | 1399.45 | 818.19 | 4529.96 | 10129.23 | 9311.04
2025-04-16 | wed | 505.66 | 625.57 | 657.48 | 716.87 | 117.98 | 437.57 | 633.14 | 160.22 | 518.27 | 404.35 | 679.77 | 337.86 | 0 | 5794.74 | 451.02 | 391.52 | 1397.25 | 1477.9 | 694.34 | 4412.03 | 10206.77 | 9512.43
2025-04-17 | thu | 577.22 | 652.86 | 663.8 | 693.83 | 133.24 | 397.07 | 888.6 | 192.62 | 611.72 | 386.31 | 701.88 | 331.97 | 0 | 6231.12 | 447.6 | 369.91 | 1642.52 | 1459.94 | 700.92 | 4620.89 | 10852.01 | 10151.09
2025-04-18 | fri | 557.7 | 690.34 | 680.57 | 708.13 | 118.29 | 456.17 | 732.31 | 192.28 | 627.87 | 429.69 | 716.85 | 356.93 | 0 | 6267.13 | 465.14 | 406.5 | 1610.36 | 1406.11 | 901.19 | 4789.3 | 11056.43 | 10155.24
2025-04-19 | sat | 589.63 | 503.37 | 674.86 | 662.95 | 122.39 | 426.22 | 525.27 | 177.32 | 596.54 | 456.58 | 710.77 | 376.57 | 0 | 5822.47 | 465.88 | 395.84 | 1586.7 | 1438.45 | 666.47 | 4553.34 | 10375.81 | 9709.34
2025-04-20 | sun | 249.34 | 520.23 | 30.81 | 175.16 | 28.46 | 197.76 | 38.23 | 68.59 | 299.39 | 52.1 | 201.83 | 135.3 | 0 | 1997.2 | 16.63 | 48.05 | 146.95 | 43.5 | 17.05 | 272.18 | 2269.38 | 2252.33
2025-04-21 | mon | 561.79 | 783.13 | 702.59 | 652.2 | 156.2 | 530.9 | 543.49 | 111.5 | 638.59 | 460.41 | 711.21 | 448.77 | 0 | 6300.78 | 528.85 | 388.14 | 1503.93 | 1509.7 | 683.47 | 4614.09 | 10914.87 | 10231.4
2025-04-22 | tue | 593.8 | 803.92 | 671.46 | 784.4 | 164.39 | 473.91 | 612.5 | 137.06 | 638.27 | 489.22 | 862.1 | 365.82 | 0 | 6596.85 | 437.61 | 208.17 | 1553.94 | 1573.88 | 794.57 | 4568.17 | 11165.02 | 10370.45
2025-04-23 | wed | 580.99 | 765.19 | 652.51 | 728.17 | 158.51 | 340.72 | 1014.08 | 133.25 | 528.51 | 456.19 | 868.65 | 323.33 | 0 | 6550.1 | 459.3 | 381.38 | 1545.11 | 1345.09 | 820.48 | 4551.36 | 11101.46 | 10280.98
2025-04-24 | thu | 610.17 | 849.24 | 647.88 | 817.6 | 168.4 | 449.93 | 738.68 | 165.22 | 625.19 | 427.78 | 858.19 | 371.77 | 0 | 6730.05 | 504 | 405.28 | 1551.87 | 1472.95 | 898.3 | 4832.4 | 11562.45 | 10664.15
2025-04-25 | fri | 596.55 | 797.26 | 723.1 | 712.06 | 167.83 | 408.71 | 442.14 | 149.75 | 626.43 | 449.15 | 828.22 | 296.32 | 0 | 6197.52 | 494.94 | 388 | 1581.44 | 1468.5 | 919.07 | 4851.95 | 11049.47 | 10130.4
2025-04-26 | sat | 586.75 | 514.06 | 701.11 | 673.34 | 151.61 | 384.12 | 690.7 | 126 | 638.53 | 384.77 | 804.91 | 393.16 | 0 | 6049.06 | 226.85 | 395.56 | 1597.94 | 1598.46 | 752.51 | 4571.32 | 10620.38 | 9867.87
2025-04-27 | sun | 248.51 | 529.62 | 39.66 | 196.92 | 51.53 | 84.08 | 6.13 | 47.38 | 288.64 | 30.59 | 223.97 | 104.32 | 0 | 1851.35 | 5.04 | 50.22 | 105.91 | 37.15 | 16.96 | 215.28 | 2066.63 | 2049.67
2025-04-28 | mon | 547.65 | 766.88 | 647.39 | 542.19 | 158.69 | 319.68 | 512.19 | 114.34 | 588.09 | 456.06 | 598.57 | 336.44 | 0 | 5588.17 | 307 | 317.16 | 1531.12 | 1673.82 | 774.53 | 4603.63 | 10191.8 | 9417.27
2025-04-29 | tue | 583.04 | 841.39 | 627.78 | 621.97 | 147.88 | 391.6 | 932.69 | 130.06 | 520.04 | 387.07 | 391.44 | 295.36 | 0 | 5870.32 | 201.04 | 452.98 | 1456.32 | 1574.79 | 614.5 | 4299.63 | 10169.95 | 9555.45
2025-04-30 | wed | 577.54 | 909.98 | 501.44 | 473.65 | 137.95 | 313.41 | 1014.49 | 96.19 | 484.86 | 311.68 | 154.72 | 275.01 | 0 | 5250.92 | 200.37 | 419.86 | 1495.32 | 1550.21 | 731.98 | 4397.74 | 9648.66 | 8916.68
[15 empty] | 0 |  |  |  |  | 0 | 0 | 0 | 0
Total |  | 13943.43 | 18690.81 | 16024.55 | 16440.11 | 3506.93 | 11504.85 | 15548.54 | 3637.69 | 15494.11 | 10474.49 | 17281.55 | 8474.75 | 0 | 151021.81 | 9551.59 | 9525.28 | 37933.04 | 37248.18 | 17807.71 | 112065.8 | 263087.61 | 245279.9
|  | 32.01 | 20.79 | -31.13 | 132.2 | 8.19 | -56.99 | 69.01 | 25.56 | -0.32 | 28.81 | 150.89 | -82.95 |  | 296.07 | [6 empty] | 250.15
|  | 5.2999 | 7.1044 | 6.091 | 6.2489 | 1.333 | 4.373 | 5.91 | 1.3827 | 5.8893 | 3.9814 | 6.5687 | 3.2213 |  | 57.4036 | [6 empty] | 100
|  | 477.2633 | 620.4748 | 566.1986 | 588.6976 | 118.7024 | 410.4562 | 537.8943 | 129.7871 | 546.6929 | 377.4967 | 636.3767 | 300.8752 |  | 5310.9157
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | 2 | 6 | 1 |  | 2

## HFO
HFO units |  |  | FUEL CONSUMPTION
Date | Day | HFO units | HFO Cons. | HSD Cons. | Used Diesel utilized from E&D
2025-04-01 | tue | 0
2025-04-02 | wed | 0
2025-04-03 | thu | 0
2025-04-04 | fri | 0
2025-04-05 | sat | 0 |  |  |  | `
2025-04-06 | sun | 0
2025-04-07 | mon | 0
2025-04-08 | tue | 254
2025-04-09 | wed | 0
2025-04-10 | thu | 110.75
2025-04-11 | fri | 9766.75
2025-04-12 | sat | 4515.25
2025-04-13 | sun | 398
2025-04-14 | mon | 0
2025-04-15 | tue | 0
2025-04-16 | wed | 2903
2025-04-17 | thu | 0
2025-04-18 | fri | 0
2025-04-19 | sat | 0
2025-04-20 | sun | 0
2025-04-21 | mon | 0
2025-04-22 | tue | 0
2025-04-23 | wed | 0
2025-04-24 | thu | 0
2025-04-25 | fri | 669
2025-04-26 | sat | 0
2025-04-27 | sun | 6504
2025-04-28 | mon | 0
2025-04-29 | tue | 0
2025-04-30 | wed | 45
Total |  | 25165.75 | 0 | 0 | 0

## HSD
Date | Day | HSD units | HSD Cons.
2025-04-01 | tue | 0
2025-04-02 | wed | 0
2025-04-03 | thu | 0
2025-04-04 | fri | 0
2025-04-05 | sat | 0
2025-04-06 | sun | 0
2025-04-07 | mon | 0
2025-04-08 | tue | 556
2025-04-09 | wed | 0
2025-04-10 | thu | 93.44
2025-04-11 | fri | 18265.13
2025-04-12 | sat | 10702.27
2025-04-13 | sun | 884.58
2025-04-14 | mon | 0
2025-04-15 | tue | 0
2025-04-16 | wed | 8740.72
2025-04-17 | thu | 0
2025-04-18 | fri | 0
2025-04-19 | sat | 0
2025-04-20 | sun | 0
2025-04-21 | mon | 0
2025-04-22 | tue | 0
2025-04-23 | wed | 0
2025-04-24 | thu | 0
2025-04-25 | fri | 2317
2025-04-26 | sat | 1038.09
2025-04-27 | sun | 4070.69
2025-04-28 | mon | 0
2025-04-29 | tue | 0
2025-04-30 | wed | 13
Total |  | 46680.92 | 0
stock based(dip rod)
[5 empty] | 1st Jan-20 | 4087 |  | 2070 |  | CANTEEN BOILER
[5 empty] | Received | 12000 | 829680 |  |  | E&D TESTING
[6 empty] | 16087 |  |  |  | E&D DG SET
[5 empty] | 1st Jan-20 | 4087 |  |  |  | E.T.P
[5 empty] | Total consumption | 12000 |  |  |  | FORK LIFT
[5 empty] | Canteen | 9050 | Ltrs |  | Diesel issued to other departments
[5 empty] | E&D Testing | 0 | Ltrs |  | Area | QTY
[5 empty] | Fork Lift | 120 | Ltrs |  | Canteen | 9050 | Ltrs
[5 empty] | ETP | 0 | Ltrs |  | E&D Testing | 0 | Ltrs
[5 empty] | Others | 90 | Ltrs |  | Fork Lift | 120 | Ltrs
[5 empty] | DG set Con | 2740 |  |  | ETP | 0 | Ltrs
[5 empty] | From E&D Tank for power house DG set | 0 |  |  | Lube oil castrol | 0 | Ltrs
[5 empty] | From E&D Tank for E&D DG set | 0 |  |  | Lube oil Shell | 36 | Ltrs
hfo & hsd tank stock day tank
[5 empty] | DG set Con. | 2740
|  |  |  | Date | 2018-10-18 | 2018-11-18
|  |  |  | 1 | 230 | 690
|  |  |  | 2 | 0 | 460
|  |  |  | 3 | 460 | 460
|  |  |  | 4 | 460 | 0
|  |  |  | 5 | 460 | 230
|  |  |  | 6 | 460 | 0
|  |  |  | 7 | 0 | 0
|  |  |  | 8 | 460 | 0
|  |  |  | 9 | 230 | 460
|  |  |  | 10 | 460 | 460
|  |  |  | 11 | 230 | 0
|  |  |  | 12 | 690 | 690
|  |  |  | 13 | 0 | 460
|  |  |  | 14 | 460 | 460
|  |  |  | 15 | 0 | 460
|  |  |  | 16 | 690 | 230
|  |  |  | 17 | 460 | 460
|  |  |  | 18 | 460 | 0
|  |  |  | 19 | 690 | 460
|  |  |  | 20 | 0 | 460
|  |  |  | 21 | 0 | 230
|  |  |  | 22 | 460 | 0
|  |  |  | 23 | 0 | 460
|  |  |  | 24 | 460 | 460
|  |  |  | 25 | 230 | 0
|  |  |  | 26 | 460 | 690
|  |  |  | 27 | 460 | 0
|  |  |  | 28 | 0 | 460
|  |  |  | 29 | 460 | 460
|  |  |  | 30 | 230 | 460
|  |  |  | 31 | 230 | 0
|  |  |  | Total | 9890 | 9660
10000
110

## DG Usage
| HFO DG | [5 empty] | HSD DG | [41 empty] | RH |  | kWh
| DG Name |  | 1.9 MW |  | 1 MW |  | DG - I 1000KVA |  | * DG - II 1500KVA (New Rental DG - Modern ) |  | * 1500 KVA (Old Rental DG- Powerica) |  | * 750 KVA (E&D - Modern) | [11 empty] | * 750 KVA (E&D - Modern) |  | * 750 KVA (E&D - Modern) |  |  |  | *1500 KVA ( Modern) |  | *1500 KVA ( Modern) |  | *1500 KVA ( Powerica) |  | *1500 KVA ( Powerica) |  | 1000 KVA |  | 1000 KVA |  |  | 1.9MW |  |  |  |  | 1 MW |  |  |  |  | 1250 |  |  |  |  | 1500 |  |  |  |  | 1000 KVA-1 |  |  |  |  | 1500 dg 2
| Date |  | RH | Units | RH | Units | RH | Units | RH | Units | RH | Units | RH | Units | s | 1.9 |  | s d | 1000 |  | 1500 M |  | 1500 P |  | units | meter reading | RH | meter reading |  |  | units | meter reading | RH | meter reading | units | meter reading | RH | meter reading | units | meter reading | RH | meter reading |  | RH | Units | RH | Units |  | RH | Units | RH | Units |  | RH | Units | RH | Units |  | RH | Units | RH | Units |  | RH | Units | RH | Units |  | RH | Units | RH | Units
| 2025-04-01 | tue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1789.88 | 1790 | 1790 | 0.12 | 0 | 0 | 1077 | 1077 | 0 | 0 | 1944 | 2702.8 | 546 | 2421.8 | 9.1 | 1 | 4 | 1777341 | 12 | 4620.6 | -2421.8 | 2421.8 | -145308 | 2421.8 | -2421.8 | 2421.8 | -145308 | 2421.8 | 1 | 71626.45 | 777165 | 0 | 0 | 1 | 33529.3 | 596657 | 0 | 0 | 1 | 597.2 | 261183 | 0 | 0 | 1 | 8399.9 | 864599 | 0 | 0 | 1 | 1114 | 432331 | 0 | 17 | 1 | 3961.7 | 1430631 | 0 | 0
| 2025-04-02 | wed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2804.25 | 2800 | 2800 | -4.25 | 1062 | 1062 | 1744 | 1744 | 1444 | 1444 | 1704 | 2710.9 | 264 | 2430.9 | 4.4 | 2 | 0 | 1777345 | 162 | 4620.8 | 0 |  | 0 |  | 0 |  | 0 |  | 2 | 71626.45 | 777165 | 0 | 0 | 2 | 33529.3 | 596657 | 18 | 0 | 2 | 597.2 | 261183 | 72 | 316 | 2 | 8399.9 | 864599 | 60 | 668 | 2 | 1114 | 432348 | 60 | 239 | 2 | 3961.7 | 1430631 | 72 | 224
| 2025-04-03 | thu | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4503 | 4500 | 4500 | -3 | 1596 | 1596 | 3242 | 3242 | 2030 | 2030 | 1824 | 2718 | 0 | 2435.3 | 0 | 3 | 1077 | 1777345 | 210 | 4623.5 | 0 |  | 0 |  | 0 |  | 0 |  | 3 | 71626.45 | 777165 | 0 | 0 | 3 | 33529.6 | 596657 | 66 | 41 | 3 | 598.4 | 261499 | 0 | 0 | 3 | 8400.9 | 865267 | 0 | 0 | 3 | 1115 | 432587 | 0 | 0 | 3 | 3962.9 | 1430855 | 0 | 0
| 2025-04-04 | fri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88.25 | 90 | 90 | 1.75 | 2444 | 2444 | 568 | 568 | 3862 | 3862 | 0 | 2725.6 | 0 | 2435.3 | 0 | 4 | 1744 | 1778422 | 264 | 4627 | 0 |  | 0 |  | 0 |  | 0 |  | 4 | 71626.45 | 777165 | 0 | 0 | 4 | 33530.7 | 596698 | 0 | 0 | 4 | 598.4 | 261499 | 0 | 0 | 4 | 8400.9 | 865267 | 0 | 0 | 4 | 1115 | 432587 | 0 | 0 | 4 | 3962.9 | 1430855 | 0 | 0
| 2025-04-05 | sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 387 | 387 | 0 | 2725.6 | 0 | 2435.3 | 0 | 5 | 3242 | 1780166 | 144 | 4631.4 | 0 |  | 0 |  | 0 |  | 0 |  | 5 | 71626.45 | 777165 | 0 | 0 | 5 | 33530.7 | 596698 | 36 | 200 | 5 | 598.4 | 261499 | 36 | 66 | 5 | 8400.9 | 865267 | 30 | 72 | 5 | 1115 | 432587 | 0 | 48 | 5 | 3962.9 | 1430855 | 36 | 112
| 2025-04-06 | sun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1094.63 | 856 | 856 | -238.63 | 0 | 0 | 790 | 790 | 0 | 0 | 1008 | 2725.6 | 306 | 2435.3 | 5.1 | 6 | 568 | 1783408 | 12 | 4633.8 | 0 |  | 0 |  | 0 |  | 0 |  | 6 | 71626.45 | 777165 | 0 | 0 | 6 | 33531.3 | 596698 | -2011878 | -596698 | 6 | 599 | 261565 | -35940 | -261565 | 6 | 8401.4 | 865339 | -504084 | -865339 | 6 | 1115 | 432635 | -66900 | -432635 | 6 | 3963.5 | 1430967 | -237810 | -1430967
| 2025-04-07 | mon | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3057.25 | 2843 | 2843 | -214.25 | 672 | 672 | 1844 | 1844 | 953 | 953 | 1296 | 2729.8 | 552 | 2440.4 | 9.2 | 7 | 3 | 1783976 | 90 | 4634 | 0 |  | 0 |  | 0 |  | 0 |  | 7 | 71626.45 | 777165 | 0 | 0 | 7 |  |  | 0 | 0 | 7 |  |  | 0 | 0 | 7 |  |  | 0 | 0 | 7 |  |  | 0 | 0 | 7 |  |  | 0 | 0
| 2025-04-08 | tue | 10 | 254 | 0 | 0 | 10 | 249 | 10 | 69 | 10 | 238 | 0 | 0 | 6314.63 | 6998 | 6744 | 683.37 | 1726 | 1477 | 5895 | 5826 | 2254 | 2016 | 2256 | 2735.2 | 132 | 2449.6 | 2.2 | 8 | 8529 | 1783979 | 198 | 4635.5 | 0 |  | 0 |  | 0 |  | 0 |  | 8 | 71626.45 | 777165 | 0 | 0 | 8 |  |  | 0 | 0 | 8 |  |  | 0 | 0 | 8 |  |  | 0 | 0 | 8 |  |  | 0 | 0 | 8 |  |  | 0 | 0
| 2025-04-09 | wed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4151.38 | 3683 | 3683 | -468.38 | 1480 | 1480 | 2902 | 2902 | 5155 | 5155 | 1848 | 2744.6 | 252 | 2451.8 | 4.2 | 9 | 2902 | 1792508 | 570 | 4638.8 | 0 |  | 0 |  | 0 |  | 0 |  | 9 | 71626.45 | 777165 | 0 | 0 | 9 |  |  | 0 | 0 | 9 |  |  | 0 | 0 | 9 |  |  | 0 | 0 | 9 |  |  | 0 | 0 | 9 |  |  | 0 | 0
| 2025-04-10 | thu | 10 | 110.75 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 93.44 | 0 | 0 | 651.63 | 651 | 540.25 | -0.63 | 2590 | 2590 | 956 | 956 | 3809 | 3715.56 | 312 | 2752.3 | 78 | 2456 | 1.3 | 10 | 956 | 1795410 | 318 | 4648.3 | 0 |  | 0 |  | 0 |  | 0 |  | 10 | 71626.45 | 777165 | 0 | 0 | 10 |  |  | 0 | 0 | 10 |  |  | 0 | 0 | 10 |  |  | 0 | 0 | 10 |  |  | 0 | 0 | 10 |  |  | 0 | 0
| 2025-04-11 | fri | 760 | 9766.75 | 0 | 0 | 760 | 2685 | 760 | 9489 | 760 | 2661.12 | 760 | 3430.01 | 0 | 0 | -9766.75 | 0 | 723 | -1962 | 2 | -9487 | 1167 | -1494.12 | 0 | 2753.6 | 0 | 2457.3 | 0 | 11 | 2 | 1796366 | 120 | 4653.6 | 0 |  | 0 |  | 0 |  | 0 |  | 11 | 71626.45 | 777165 | 0 | 0 | 11 |  |  | 0 | 0 | 11 |  |  | 0 | 0 | 11 |  |  | 0 | 0 | 11 |  |  | 0 | 0 | 11 |  |  | 0 | 0
| 2025-04-12 | sat | 240 | 4515.25 | 0 | 0 | 240 | 2949 | 240 | 2734 | 240 | 3397.25 | 240 | 1622.02 | 0 | 0 | -4515.25 | 0 | 0 | -2949 | 3 | -2731 | 0 | -3397.25 | 0 | 2753.6 | 0 | 2457.3 | 0 | 12 | 3 | 1796368 | 6 | 4655.6 | 0 |  | 0 |  | 0 |  | 0 |  | 12 | 71626.45 | 777165 | 0 | 0 | 12 |  |  | 0 | 0 | 12 |  |  | 0 | 0 | 12 |  |  | 0 | 0 | 12 |  |  | 0 | 0 | 12 |  |  | 0 | 0
| 2025-04-13 | sun | 60 | 398 | 0 | 0 | 0 | 0 | 60 | 672 | 60 | 22.14 | 60 | 190.44 | 0 | 0 | -398 | 0 | 0 | 0 | 2 | -670 | 0 | -22.14 | 0 | 2753.6 | 0 | 2457.3 | 0 | 13 | 2 | 1796371 | 12 | 4655.7 | 0 |  | 0 |  | 0 |  | 0 |  | 13 | 71626.45 | 777165 | 0 | 0 | 13 |  |  | 0 | 0 | 13 |  |  | 0 | 0 | 13 |  |  | 0 | 0 | 13 |  |  | 0 | 0 | 13 |  |  | 0 | 0
| 2025-04-14 | mon | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 2753.6 | 0 | 2457.3 | 0 | 14 | 3 | 1796373 | 12 | 4655.9 | 0 |  | 0 |  | 0 |  | 0 |  | 14 | 71626.45 | 777165 | 0 | 0 | 14 |  |  | 0 | 0 | 14 |  |  | 0 | 0 | 14 |  |  | 0 | 0 | 14 |  |  | 0 | 0 | 14 |  |  | 0 | 0
| 2025-04-15 | tue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2753.6 | 0 | 2457.3 | 0 | 15 | 1 | 1796376 | 6 | 4656.1 | 0 |  | 0 |  | 0 |  | 0 |  | 15 | 71626.45 | 777165 | 0 | 0 | 15 |  |  | 0 | 0 | 15 |  |  | 0 | 0 | 15 |  |  | 0 | 0 | 15 |  |  | 0 | 0 | 15 |  |  | 0 | 0
| 2025-04-16 | wed | 220 | 2903 | 0 | 0 | 220 | 1794 | 220 | 3174 | 220 | 2445.31 | 220 | 1327.41 | 1776.63 | 1777 | -1126 | 0.37 | 0 | -1794 | 1163 | -2011 | 0 | -2445.31 | 576 | 2753.6 | 102 | 2457.3 | 1.7 | 16 | 1163 | 1796377 | 126 | 4656.2 | 0 |  | 0 |  | 0 |  | 0 |  | 16 | 71626.45 | 777165 | 0 | 0 | 16 |  |  | 0 | 0 | 16 |  |  | 0 | 0 | 16 |  |  | 0 | 0 | 16 |  |  | 0 | 0 | 16 |  |  | 0 | 0
| 2025-04-17 | thu | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 831 | 831 | 3 | 3 | 1210 | 1210 | 0 | 2756 | 0 | 2459 | 0 | 17 | 3 | 1797540 | 6 | 4658.3 | 0 |  | 0 |  | 0 |  | 0 |  | 17 | 71626.45 | 777165 | 0 | 0 | 17 |  |  | 0 | 0 | 17 |  |  | 0 | 0 | 17 |  |  | 0 | 0 | 17 |  |  | 0 | 0 | 17 |  |  | 0 | 0
| 2025-04-18 | fri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2756 | 0 | 2459 | 0 | 18 | 1 | 1797543 | 6 | 4658.4 | 0 |  | 0 |  | 0 |  | 0 |  | 18 | 71626.45 | 777165 | 0 | 0 | 18 |  |  | 0 | 0 | 18 |  |  | 0 | 0 | 18 |  |  | 0 | 0 | 18 |  |  | 0 | 0 | 18 |  |  | 0 | 0
Internal PC | 2025-04-19 | sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 2756 | 0 | 2459 | 0 | 19 | 3 | 1797544 | 6 | 4658.5 | 0 |  | 0 |  | 0 |  | 0 |  | 19 | 71626.45 | 777165 | 0 | 0 | 19 |  |  | 0 | 0 | 19 |  |  | 0 | 0 | 19 |  |  | 0 | 0 | 19 |  |  | 0 | 0 | 19 |  |  | 0 | 0
| 2025-04-20 | sun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 2756 | 0 | 2459 | 0 | 20 | 2 | 1797547 | 12 | 4658.6 | 0 |  | 0 |  | 0 |  | 0 |  | 20 | 71626.45 | 777165 | 0 | 0 | 20 |  |  | 0 | 0 | 20 |  |  | 0 | 0 | 20 |  |  | 0 | 0 | 20 |  |  | 0 | 0 | 20 |  |  | 0 | 0
| 2025-04-21 | mon | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2756 | 0 | 2459 | 0 | 21 | 1 | 1797549 | 6 | 4658.8 | 0 |  | 0 |  | 0 |  | 0 |  | 21 | 71626.45 | 777165 | 0 | 0 | 21 |  |  | 0 | 0 | 21 |  |  | 0 | 0 | 21 |  |  | 0 | 0 | 21 |  |  | 0 | 0 | 21 |  |  | 0 | 0
| 2025-04-22 | tue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 2756 | 0 | 2459 | 0 | 22 | 2 | 1797550 | 6 | 4658.9 | 0 |  | 0 |  | 0 |  | 0 |  | 22 | 71626.45 | 777165 | 0 | 0 | 22 |  |  | 0 | 0 | 22 |  |  | 0 | 0 | 22 |  |  | 0 | 0 | 22 |  |  | 0 | 0 | 22 |  |  | 0 | 0
| 2025-04-23 | wed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2756 | 0 | 2459 | 0 | 23 | 1 | 1797552 | 6 | 4659 | 0 |  | 0 |  | 0 |  | 0 |  | 23 | 71626.45 | 777165 | 0 | 0 | 23 |  |  | 0 | 0 | 23 |  |  | 0 | 0 | 23 |  |  | 0 | 0 | 23 |  |  | 0 | 0 | 23 |  |  | 0 | 0
| 2025-04-24 | thu | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 2756 | 0 | 2459 | 0 | 24 | 3 | 1797553 | 6 | 4659.1 | 0 |  | 0 |  | 0 |  | 0 |  | 24 | 71626.45 | 777165 | 0 | 0 | 24 |  |  | 0 | 0 | 24 |  |  | 0 | 0 | 24 |  |  | 0 | 0 | 24 |  |  | 0 | 0 | 24 |  |  | 0 | 0
| 2025-04-25 | fri | 35 | 669 | 0 | 0 | 35 | 558 | 35 | 580 | 35 | 527 | 35 | 652 | 321.88 | 322 | -347 | 0.12 | 0 | -558 | 158 | -422 | 0 | -527 | 144 | 2756 | 24 | 2459 | 0.4 | 25 | 158 | 1797556 | 42 | 4659.2 | 0 |  | 0 |  | 0 |  | 0 |  | 25 | 71626.45 | 777165 | 0 | 0 | 25 |  |  | 0 | 0 | 25 |  |  | 0 | 0 | 25 |  |  | 0 | 0 | 25 |  |  | 0 | 0 | 25 |  |  | 0 | 0
| 2025-04-26 | sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1038.09 | 702.38 | 702 | 702 | -0.38 | 0 | 0 | 838 | 838 | 0 | 0 | 216 | 2756.6 | 48 | 2459.4 | 0.8 | 26 | 838 | 1797714 | 138 | 4659.9 | 0 |  | 0 |  | 0 |  | 0 |  | 26 | 71626.45 | 777165 | 0 | 0 | 26 |  |  | 0 | 0 | 26 |  |  | 0 | 0 | 26 |  |  | 0 | 0 | 26 |  |  | 0 | 0 | 26 |  |  | 0 | 0
| 2025-04-27 | sun | 530 | 6504 | 0 | 0 | 530 | 89 | 530 | 2942 | 530 | 0 | 530 | 1039.69 | 293.5 | 294 | -6210 | 0.5 | 668 | 579 | 446 | -2496 | 1035 | 1035 | 96 | 2757.5 | 12 | 2460.2 | 0.2 | 27 | 446 | 1798552 | 54 | 4662.2 | 0 |  | 0 |  | 0 |  | 0 |  | 27 | 71626.45 | 777165 | 0 | 0 | 27 |  |  | 0 | 0 | 27 |  |  | 0 | 0 | 27 |  |  | 0 | 0 | 27 |  |  | 0 | 0 | 27 |  |  | 0 | 0
| 2025-04-28 | mon | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 256 | 4 | 4 | 624 | 624 | 0 | 2757.9 | 0 | 2460.4 | 0 | 28 | 4 | 1798998 | 12 | 4663.1 | 0 |  | 0 |  | 0 |  | 0
| 2025-04-29 | tue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2757.9 | 0 | 2460.4 | 0 | 29 | 0 | 1799002 | 6 | 4663.3 | 0 |  | 0 |  | 0 |  | 0
| 2025-04-30 | wed | 10 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 13 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 3 | 3 | 0 | -13 | 0 | 2757.9 | 0 | 2460.4 | 0 | 30 | 3 | 1799002 | 12 | 4663.4 | 0 |  | 0 |  | 0 |  | 0
[15 empty] | 826.25 | 826 | 826 | -0.25 | 345 | 345 | 551 | 551 | 856 | 856 | 216 | 2757.9 | 42 | 2460.4 |  | 31 | 551 | 1799005 | 78 | 4663.6 | 0 |  | 0 |  | 0 |  | 0 |  | 28 | 71626.45 | 777165 | #REF! | #REF! | 28 |  |  | #REF! | #REF! | 28 |  |  | #REF! | #REF! | 28 |  |  | #REF! | #REF! | 28 |  |  | #REF! | #REF! | 28 |  |  | #REF! | #REF!
| Total |  | 1875 | 25165.75 | 0 | 0 | 1795 | 8324 | 1855 | 19660 | 1875 | 9397.26 | 1845 | 9299.66 | 28375.54 | 28132 | 2966.25 |  | 14393 | 6069 | 22211 | 2551 | 24786 | 15388.74 |  | 2758.8 |  | 2461.1 | 38.6 |  |  | 1799556 |  | 4664.9 | [8 empty] | 1 | 71626.45 | 777165 |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  | #REF! |  | 1 |  |  | 0 | 0 | 1 |  |  | 0 | 0
243.54
RH - Running hours in Minutes
[9 empty] | 1st apr | 1675
[9 empty] | 30th apr | 1687 | 12 | 2880
[10 empty] | 1687 | 14.6 | 3504
[10 empty] | 1672.4 | 20.3 |  |  | 1675.7
[10 empty] | 1652.1 | 4872 |  |  | 1646.9
[10 empty] | 1671.9 | 0.5
120

## Other Areas
0
Split up Units
Date | Day | Stipper Plant | Pump House | MSE office | 1500 kVA coil cooler | ETP | RO plant | 4*500kVA Emerson UPS self consumption | Transformers (3*1000kVA, 3*1250kVA, 1500*1,6300*1) self consumption | Telephone Exchange | PH exhaust fan, cont. shed, server, few borewells (Non measurables) | Other Areas | Remarks
2025-04-01 | tue | 50 | 99.315 | 0 | 0 | 29 | 38 | 867.39 | 580.996 | 0 | 0 | 1677.701
2025-04-02 | wed | 40 | 87.555 | 0 | 4.3 | 38 | 38 | 947.18 | 990.261 | 0 | 0 | 2158.296
2025-04-03 | thu | 40 | 76.755 | 0 | 0 | 46 | 38 | 1044.09 | 1225.0773 | 0 | 0 | 2482.9223
2025-04-04 | fri | 49 | 92.97 | 0 | 2.09 | 26 | 38 | 1071.38 | 719.511 | 0 | 0 | 2011.951
2025-04-05 | sat | 45 | 87.45 | 0 | 0 | 20 | 38 | 1102.25 | 978.4089 | 0 | 0 | 2284.1089
2025-04-06 | sun | 24 | 53.34 | 0 | 0 | 24 | 38 | 1234.09 | 943.1534 | 0 | 0 | 2329.5834
2025-04-07 | mon | 51 | 94.605 | 0 | 7.04 | 30 | 38 | 1069.49 | 1346.5525 | 0 | 0 | 2649.6875
2025-04-08 | tue | 46 | 93.555 | 0 | 8.51 | 26 | 38 | 1021.35 | 1031.7777 | 0 | 0 | 2278.1927
2025-04-09 | wed | 48 | 118.455 | 0 | 0 | 33 | 38 | 1035.69 | 1006.3798 | 0 | 0 | 2292.5248
2025-04-10 | thu | 48 | 96.345 | 0 | 6.12 | 30 | 38 | 1027.77 | 1357.3053 | 0 | 0 | 2616.5403
2025-04-11 | fri | 54 | 112.8 | 0 | 156.89 | 14 | 38 | 1113.83 | 829.0141 | 0 | 0 | 2331.5341
2025-04-12 | sat | 56 | 111.975 | 0 | 89.87 | 33 | 38 | 1100.55 | 949.4579 | 0 | 0 | 2391.8529
2025-04-13 | sun | 20 | 32.505 | 0 | 4.55 | 32 | 38 | 833.92 | 867.0356 | 0 | 0 | 1841.0106
2025-04-14 | mon | 16 | 32.205 | 0 | 0 | 7 | 38 | 593.92 | 928.6202 | 0 | 0 | 1628.7452
2025-04-15 | tue | 43 | 93.36 | 0 | 0 | 38 | 38 | 977.87 | 1545.5698 | 0 | 0 | 2748.7998
2025-04-16 | wed | 60 | 108.915 | 0 | 79.6 | 22 | 38 | 1089.25 | 1497.1154 | 0 | 0 | 2907.8804
2025-04-17 | thu | 46 | 93.21 | 0 | 2.46 | 33 | 38 | 1080.44 | 1567.9814 | 0 | 0 | 2874.0914
2025-04-18 | fri | 54 | 115.05 | 0 | 0 | 44 | 38 | 1092.43 | 1560.871 | 0 | 0 | 2917.351
2025-04-19 | sat | 45 | 89.865 | 0 | 3.06 | 33 | 38 | 1045.52 | 1245.148 | 0 | 0 | 2512.593
2025-04-20 | sun | 30 | 79.05 | 0 | 4.25 | 20 | 38 | 1225.7 | 802.3524 | 0 | 0 | 2212.3524
2025-04-21 | mon | 60 | 122.16 | 0 | 0 | 48 | 38 | 1093.59 | 1260.1255 | 0 | 0 | 2634.8755
2025-04-22 | tue | 58 | 132.675 | 0 | 4.44 | 29 | 38 | 1105.73 | 1283.0825 | 13 | 0 | 2663.9275
2025-04-23 | wed | 57 | 117.885 | 0 | 5.9 | 28 | 38 | 1134.44 | 1095.0786 | 0 | 0 | 2489.3036
2025-04-24 | thu | 52 | 99.99 | 0 | 0 | 52 | 38 | 1144.28 | 1643.1336 | 0 | 0 | 3042.4036
2025-04-25 | fri | 58 | 119.475 | 0 | 24.6 | 32 | 38 | 1049.2 | 1495.1064 | 0 | 0 | 2829.3814
2025-04-26 | sat | 65 | 138.375 | 0 | 0 | 42 | 38 | 978.56 | 1874.0048 | 0 | 0 | 3148.9398
2025-04-27 | sun | 19 | 37.2 | 0 | 0 | 25 | 38 | 1298.88 | 421.5307 | 0 | 0 | 1852.6107
2025-04-28 | mon | 55 | 93.885 | 0 | 3.5 | 28 | 38 | 1069.18 | 1688.8394 | 13 | 0 | 2989.4044
2025-04-29 | tue | 57 | 93.75 | 0 | 0 | 30 | 38 | 1120.21 | 1313.9853 | 13 | 0 | 2665.9453
2025-04-30 | wed | 54 | 99.405 | 0 | 4.6 | 34 | 38 | 1061.52 | 1505.9592 | 13 | 0 | 2810.4842
[11 empty] | 0 | 0
Total |  | 1400 | 2824.08 | 0 | 411.78 | 926 | 1140 | 31629.7 | 35553.4347 | 52 | 0 | 74274.9947

## CRNHB split up
CRNHB Split up
Date | Day | NHB Hard Machines | NHB Machines (Soft) | NHB Compressor | AC (Chillers & AHU) | CR NHB Phosphating | Walter Machine | Total
2025-04-01 | tue | 1812.05 | 9222.71 | 3427.01 | 1481.3598 | 686 | 0 | 16629.1298
2025-04-02 | wed | 2767.66 | 12677.48 | 4738.31 | 1661.5496 | 705 | 0 | 22549.9996
2025-04-03 | thu | 2804.59 | 12168.03 | 4721.22 | 1983.4706 | 685 | 0 | 22362.3106
2025-04-04 | fri | 2765.69 | 12099.11 | 4735.49 | 2235.0654 | 727 | 0 | 22562.3554
2025-04-05 | sat | 2794.55 | 12465.13 | 4743.74 | 2073.0094 | 694 | 0 | 22770.4294
2025-04-06 | sun | 587.84 | 10964.34 | 4320.51 | 836.61 | 746 | 0 | 17455.3
2025-04-07 | mon | 2828.13 | 12749 | 4743.48 | 2008.57 | 780 | 0 | 23109.18
2025-04-08 | tue | 2771.3 | 12575.71 | 4747.79 | 2191.431 | 736 | 0 | 23022.231
2025-04-09 | wed | 2970.24 | 12349.88 | 4744.76 | 1964.0534 | 819 |  | 22847.9334
2025-04-10 | thu | 3033.44 | 12885.89 | 4765.32 | 2154.7041 | 677 |  | 23516.3541
2025-04-11 | fri | 2948.77 | 11922.93 | 4749.56 | 2145.787 | 732 |  | 22499.047
2025-04-12 | sat | 2959.8 | 11801.69 | 4774.05 | 2219.3173 | 806 |  | 22560.8573
2025-04-13 | sun | 1523.83 | 6463.62 | 1370.76 | 1020.8 | 242 |  | 10621.01
2025-04-14 | mon | 240.76 | 2322.06 | 166.91 | 34.27 | 0 |  | 2764
2025-04-15 | tue | 2952.81 | 11647.2 | 4702.74 | 2222.3538 | 828 |  | 22353.1038
2025-04-16 | wed | 2863.31 | 12073.98 | 4674.17 | 2191.1658 | 733 |  | 22535.6258
2025-04-17 | thu | 2676.41 | 12785.56 | 4723.85 | 2278.6154 | 709 |  | 23173.4354
2025-04-18 | fri | 2935.67 | 12702.65 | 4717.06 | 2247.6094 | 802 |  | 23404.9894
2025-04-19 | sat | 3219.35 | 12164.12 | 4715.03 | 2312.8926 | 808 |  | 23219.3926
2025-04-20 | sun | 2150.89 | 10212.46 | 4333.44 | 1910.92 | 679 |  | 19286.71
2025-04-21 | mon | 3273.6 | 12290.33 | 4745.09 | 2299.5283 | 794 |  | 23402.5483
2025-04-22 | tue | 3325.04 | 12531.17 | 4735.75 | 2287.3452 | 738 |  | 23617.3052
2025-04-23 | wed | 3269.37 | 12823.69 | 4738.81 | 2238.8909 | 759 |  | 23829.7609
2025-04-24 | thu | 3245.22 | 13003.53 | 4791.27 | 2259.8656 | 755 |  | 24054.8856
2025-04-25 | fri | 3215.28 | 13155.03 | 4824.07 | 2197.2709 | 877 |  | 24268.6509
2025-04-26 | sat | 3414.04 | 12538.74 | 4787.96 | 2356.4617 | 836 |  | 23933.2017
2025-04-27 | sun | 1266.15 | 7698.02 | 3140.23 | 2125.57 | 741 |  | 14970.97
2025-04-28 | mon | 3065.35 | 12772.51 | 4820.35 | 2179.1252 | 877 |  | 23714.3352
2025-04-29 | tue | 3145.78 | 12964.24 | 4860.16 | 2237.3055 | 816 |  | 24023.4855
2025-04-30 | wed | 2994.57 | 12932.11 | 4824.76 | 2240.0862 | 840 |  | 23831.5262
0
Total |  | 79821.49 | 346962.92 | 130883.65 | 59595.0041 | 21627 | 0 | 638890.0641
|  | 51.44 | 240.84 | -9.34 | -12.1831 | -56 | 0 | 214.7569
0
2.5714
2400000
|  | 1 | 1 | 1 | 1 | 1 | 1

## Inline split up
INLINE Split up
Date | Day | Inline Machines | Inline Compressor | Inline Assy & Testing AC | Inline HTC | Total
2025-04-01 | tue | 91.21 | 87.124 | 116.5168 | 251.8208 | 546.6716
2025-04-02 | wed | 144.61 | 183.092 | 195.5648 | 631.2768 | 1154.5436
2025-04-03 | thu | 219.02 | 200.0575 | 189.5524 | 597.3929 | 1206.0229
2025-04-04 | fri | 265.52 | 211.508 | 213.3824 | 640.8903 | 1331.3007
2025-04-05 | sat | 258.49 | 214.6105 | 200.0132 | 584.414 | 1257.5277
2025-04-06 | sun | 58.09 | 37.963 | 21.3076 | 219.1398 | 336.5004
2025-04-07 | mon | 303.56 | 215.1845 | 213.2008 | 391.4119 | 1123.3572
2025-04-08 | tue | 299.12 | 207.4855 | 222.814 | 666.5241 | 1395.9436
2025-04-09 | wed | 308.83 | 215.443 | 221.4904 | 676.2602 | 1422.0236
2025-04-10 | thu | 320.01 | 221.804 | 220.6616 | 612.7429 | 1375.2185
2025-04-11 | fri | 295.28 | 223.7365 | 226.7796 | 609.0227 | 1354.8188
2025-04-12 | sat | 257.27 | 187.975 | 205.774 | 632.6133 | 1283.6323
2025-04-13 | sun | 31.11 | 33.567 | 12.6584 | 472.367 | 549.7023
2025-04-14 | mon | 2.91 | 10.822 | 13.8604 | 170.3746 | 197.967
2025-04-15 | tue | 310.08 | 208.69 | 234.3652 | 468.2777 | 1221.4129
2025-04-16 | wed | 327.5 | 193.669 | 214.8156 | 597.4936 | 1333.4782
2025-04-17 | thu | 323.93 | 213.976 | 213.1344 | 663.6317 | 1414.6721
2025-04-18 | fri | 319.59 | 208.524 | 233.0696 | 588.5896 | 1349.7732
2025-04-19 | sat | 350.73 | 202.77 | 219.954 | 480.1186 | 1253.5726
2025-04-20 | sun | 75.57 | 43.666 | 26.4376 | 205.8881 | 351.5617
2025-04-21 | mon | 322.51 | 274.667 | 240.8396 | 465.13 | 1303.1467
2025-04-22 | tue | 308.93 | 218.0105 | 235.9288 | 699.7491 | 1462.6184
2025-04-23 | wed | 252.21 | 225.2075 | 248.2068 | 670.8619 | 1396.4862
2025-04-24 | thu | 287.47 | 228.344 | 259.6836 | 622.9063 | 1398.404
2025-04-25 | fri | 316.08 | 225.6265 | 251.8708 | 693.1793 | 1486.7566
2025-04-26 | sat | 337.34 | 229.3565 | 231.994 | 466.4649 | 1265.1554
2025-04-27 | sun | 71.75 | 36.2665 | 21.6452 | 183.458 | 313.1197
2025-04-28 | mon | 306.48 | 210.898 | 248.7836 | 412.5561 | 1178.7177
2025-04-29 | tue | 334.03 | 220.136 | 262.4604 | 646.5377 | 1463.1641
2025-04-30 | wed | 258.18 | 209.708 | 247.9076 | 460.136 | 1175.9317
0
Total |  | 7357.41 | 5399.888 | 5664.6732 | 15481.23 | 33903.2013
Units of Inline machines in Rotary building
Inline units Grand Total | [5 empty] | 33903.2013
15500
747
1495
|  | 1 | 1 | 1

## HT insourcing
HT insourcing Split up
Date | Day | HTC furnace | HTC Compressor | Total
2025-04-01 | tue | 572.32 | 69.6992 | 642.0192
2025-04-02 | wed | 1434.72 | 146.4736 | 1581.1936
2025-04-03 | thu | 1357.7112 | 160.046 | 1517.7572
2025-04-04 | fri | 1456.5688 | 169.2064 | 1625.7752
2025-04-05 | sat | 1328.2137 | 171.6884 | 1499.9021
2025-04-06 | sun | 498.045 | 30.3704 | 528.4154
2025-04-07 | mon | 889.5725 | 172.1476 | 1061.7201
2025-04-08 | tue | 1514.8275 | 165.9884 | 1680.8159
2025-04-09 | wed | 1536.955 | 172.3544 | 1709.3094
2025-04-10 | thu | 1392.5975 | 177.4432 | 1570.0407
2025-04-11 | fri | 1384.1425 | 178.9892 | 1563.1317
2025-04-12 | sat | 1437.7575 | 150.38 | 1588.1375
2025-04-13 | sun | 1073.5613 | 26.8536 | 1100.4149
2025-04-14 | mon | 387.215 | 8.6576 | 395.8726
2025-04-15 | tue | 1064.2675 | 166.952 | 1231.2195
2025-04-16 | wed | 1357.94 | 154.9352 | 1512.8752
2025-04-17 | thu | 1508.2538 | 171.1808 | 1679.4346
2025-04-18 | fri | 1337.7037 | 166.8192 | 1504.5229
2025-04-19 | sat | 1091.1787 | 162.216 | 1253.3947
2025-04-20 | sun | 467.9275 | 34.9328 | 502.8603
2025-04-21 | mon | 1057.1137 | 219.7336 | 1276.8473
2025-04-22 | tue | 1590.3388 | 174.4084 | 1764.7472
2025-04-23 | wed | 1524.6862 | 180.166 | 1704.8522
2025-04-24 | thu | 1415.6962 | 182.6752 | 1598.3714
2025-04-25 | fri | 1575.4075 | 180.5012 | 1755.9087
2025-04-26 | sat | 1060.1475 | 183.4852 | 1243.6327
2025-04-27 | sun | 416.95 | 29.0132 | 445.9632
2025-04-28 | mon | 937.6275 | 168.7184 | 1106.3459
2025-04-29 | tue | 1469.4038 | 176.1088 | 1645.5126
2025-04-30 | wed | 1045.7637 | 167.7664 | 1213.5301
0
Total |  | 35184.6137 | 4319.9104 | 39504.5241
Units of Inline machines in Rotary building
Inline units Grand Total |  |  |  | 39504.5241
|  | 1 | 1

## CTA
CTA Split up
Date | Day | CTA machines | CTA Compressor | CTA Chiler-AHU | Total
2025-04-01 | tue | 747.48 | 139.3984 | 501.2702 | 1388.1486 | 1751.187 | 429 | 1182.7886
2025-04-02 | wed | 1178.59 | 292.9472 | 706.8904 | 2178.4276 | 2640.864 | 651 | 1696.9168
2025-04-03 | thu | 1215.85 | 320.092 | 943.3194 | 2479.2614 | 2404.925 | 620 | 1464.833
2025-04-04 | fri | 1114.89 | 338.4128 | 1062.5346 | 2515.8374 | 2449.377 | 628 | 1482.9642
2025-04-05 | sat | 1071.37 | 343.3768 | 964.1606 | 2378.9074 | 264.031 | 1 | -80.3458
2025-04-06 | sun | 159.73 | 60.7408 | 9.6 | 230.0708 | 2343.43 | 618 | 1664.6892
2025-04-07 | mon | 1430.37 | 344.2952 | 988.44 | 2763.1052 | 2503.18 | 625 | 1533.8848
2025-04-08 | tue | 1243.41 | 331.9768 | 1031.609 | 2606.9958 | 2386.105 | 650 | 1404.1282
2025-04-09 | wed | 1241.66 | 344.7088 | 876.4366 | 2462.8054 | 2779.52 | 697 | 1737.8112
2025-04-10 | thu | 1354.22 | 354.8864 | 1047.7559 | 2756.8623
2025-04-11 | fri | 1330.38 | 357.9784 | 1035.443 | 2723.8014
2025-04-12 | sat | 1227.38 | 300.76 | 1063.5127 | 2591.6527
2025-04-13 | sun | 147.92 | 53.7072 | 20.22 | 221.8472
2025-04-14 | mon | 22.26 | 17.3152 | 0 | 39.5752
2025-04-15 | tue | 1521.19 | 333.904 | 1065.8162 | 2920.9102
2025-04-16 | wed | 1289.44 | 309.8704 | 1042.0042 | 2641.3146
2025-04-17 | thu | 1392.14 | 342.3616 | 1088.9846 | 2823.4862
2025-04-18 | fri | 1355.06 | 333.6384 | 1092.9606 | 2781.659
2025-04-19 | sat | 1247.57 | 324.432 | 1108.7274 | 2680.7294
2025-04-20 | sun | 181.86 | 69.8656 | 17.46 | 269.1856
2025-04-21 | mon | 1309.49 | 439.4672 | 1102.1117 | 2851.0689
2025-04-22 | tue | 1330.44 | 348.8168 | 1105.3048 | 2784.5616
2025-04-23 | wed | 1613.43 | 360.332 | 966.6291 | 2940.3911
2025-04-24 | thu | 1594.98 | 365.3504 | 1101.1444 | 3061.4748
2025-04-25 | fri | 1638.5 | 361.0024 | 1070.0991 | 3069.6015
2025-04-26 | sat | 1386.5 | 366.9704 | 1115.7483 | 2869.2187
2025-04-27 | sun | 159.81 | 58.0264 | 68.88 | 286.7164
2025-04-28 | mon | 1536.21 | 337.4368 | 1053.6748 | 2927.3216
2025-04-29 | tue | 1494.81 | 352.2176 | 1088.6645 | 2935.6921
2025-04-30 | wed | 1683.62 | 335.5328 | 1087.7838 | 3106.9366
0
Total |  | 34220.56 | 8639.8208 | 25427.1859 | 68287.5667
Units of Inline machines in Rotary building
CTA units Grand Total |  |  |  |  | 68287.5667
|  | 1 | 1